俄罗斯电器主要部件安全认证标准

| 标准号 | 产品名称 |
| --- | --- |
| 电源线 引用了IEC 60227和IEC 60245标准 |
| GOST R IEC 60227-1-99 | 额定电压450/750V及以下的聚氯乙烯绝缘电缆. 通用要求（Polyvinyl Chloride Insulated Cables of Rated Voltages up to and Including 450/750 V） Eq. IEC 60227-1-93, 2nd ed., incl. amd.2 |
| GOST R IEC 60227-2-99 | 额定电压450/750V及以下的聚氯乙烯绝缘电缆. 测试方法 Eq. IEC 60227-2-97, 2nd ed. |
| GOST R IEC 60227-3-2000 | 额定电压450/750V及以下的聚氯乙烯绝缘电缆. 固定布线用无护套电缆 （Non-sheathed cables for fixed wiring） Eq. IEC 60227-3-93, 2nd ed., incl. amd.1 |
| GOST R IEC 60227-4-2000 | 额定电压450/750V及以下的聚氯乙烯绝缘电缆. 固定布线用铠装电缆 （Sheathed Cables for Fixed Wiring） Eq. IEC 60227-4-92, 2nd ed., incl. amd.1 |
| GOST R IEC 60227-5-2000 | 额定电压450/750V及以下的聚氯乙烯绝缘电缆. 软电缆(软线) Eq. IEC 60227-5-97, 2nd ed., incl. amd.1 |
| GOST R IEC 60227-6-2000 | 额定电压450/750V及以下的聚氯乙烯绝缘电缆. 电梯电缆和软连接用电缆（Lift Cables and Cables for Flexible Connections） Eq. IEC 60227-6-85, 2nd ed., incl. amd.1 |
| GOST R IEC 227-7-98 | 额定电压450/750V及以下的聚氯乙烯绝缘电缆. 屏蔽及未屏蔽的带有两个或多个导体的挠性电缆.（Screened and Unscreened Flexible Cables with Two or More Conductors） Eq. IEC 60227-7-95, 1st ed. |
| GOST R IEC 60245-1-2000 | 额定电压450/750V及以下的橡胶绝缘电缆. 通用要求（Rubber Insulated Cables - Rated Voltages up to and Including 450/750 V） Eq. IEC 60245-1-94, 3rd ed., incl. amd.1 & amd.2 |
| GOST R IEC 60245-2-2000 | 额定电压450/750V及以下的橡胶绝缘电缆. 测试方法 Eq. IEC 60245-2-94, 2nd ed., incl. amd.1 & amd.2 |
| GOST R IEC 60245-3-2000 | 额定电压450/750V及以下的橡胶绝缘电缆. 耐热硅胶绝缘电缆（Heat Resistant Silicone Insulated Cables） Eq. IEC 60245-3-94, 2nd ed., incl. amd.1 |
| GOST R IEC 60245-4-2002 | 额定电压450/750V及以下的橡胶绝缘电缆. 软线和软电缆（Cords and Flexible Cables） Eq. IEC 60245-4-94, 2nd ed., incl. amd.1 |
| GOST R IEC 245-5-97 | 额定电压450/750V及以下的橡胶绝缘电缆. 电梯电缆（Lift cables） Eq. IEC 60245-5-94, 2nd ed. |
| GOST R IEC 60245-6-2000 | 额定电压450/750V及以下的橡胶绝缘电缆. 电弧焊电极电缆（Arc Welding Electrode Cables） Eq. IEC 60245-6-94, 2nd ed., incl. amd.1 |
| GOST R IEC 60245-7-2000 | 额定电压450/750V及以下的橡胶绝缘电缆. 耐热乙烯-乙烯基醋酸脂橡胶绝缘电缆（Heat Resistant Ethylene-Vinyl Acetate Rubber Insulated Cables） Eq. IEC 60245-7-94, 1st ed., incl. amd.1 |
| GOST R IEC 60245-8-2000 | 额定电压450/750V及以下的橡胶绝缘电缆. 高柔性要求适用的软线 （Heat Resistant Ethylene-Vinyl Acetate Rubber Insulated Cables） Eq. IEC 60245-8-98, 1st ed. |
| 电器插头插座 |
| GOST 51322.1-99 | 家用和类似用途的插头插座：第1部分：要求和测试方法 Plugs and Socket-Outlets for Household and Similar Purposes. Part 1 Requirements and Methods of Test. |
| GOST 51322.2.2-99 | 家用和类似用途的插头插座：第2-2部分：插座Part 2-2 Socket-Outlets for Appliances |
| GOST 51322.2.4-99 | 家用和类似用途的插头插座：第2-4部分：SELV插头插座Part 2-4 plugs and socket-outlets for SELV |
| GOST 51322.2.5-99 | 家用和类似用途的插头插座：第2-5部分：多头电源插座 Part 2-5 adaptors |
| GOST 51322.2.6-99 | 家用和类似用途的插头插座：第2-6部分：固定设备用带内锁的开关插座引出线的特殊要求Part 2-6 Switched Socket-Outlets with Interlock for Fixed Electrical Installations |
| 器具开关 |
| GOST R IEC 61058.1-2000 | 电气设备开关：通用要求和测试方法 （Switches for Electrical Appliances. Part 1 General Requirements and Test Methods） Eq. IEC 61058-1-96, 2nd ed., incl. amd.1 |
| 器具耦合器 等同于IEC 60320系列标准 |
| GOST R 51325.1-99 | 家用和类似一般用途器具耦合器：要求和测试方法 Appliance couplers for household and similar general purposes. Requirements and Methods of Test Eq. IEC 60320-1-94, 1st ed., incl. amd.1 & amd.1 |
| GOST R 51325.2.2-99 | 家用和类似一般用途器具耦合器：第2-2部分:家用和类似设备用互联耦合器Interconnection Couplers for household and similar Equipment. Eq. IEC 60320-2-2-98, 2nd ed. |
| GOST R 51325.2.3-2001 | 家用和类似一般用途器具耦合器：第2-3部分: 保护等级高于IPXO的耦合器Appliance coupler with a degree of protection higher than IPXO. Eq. IEC 60320-2-3-98, 1st ed. |
| 自动控制器 引用IEC 60730系列标准 |
| GOST R IEC 730-1-95 GOST R IEC 730-1-94 | 家用和类似用途的电气自动控制器：通用要求和测试方法 Automatic Electrical Controls for Household and Similar Use: General Requirements and Test Methods. Eq. IEC 60730-1-93, 2nd ed., incl. amd.1 & amd.2 |
| GOST R IEC 730-2-1-95 GOST R IEC 730-2-1-94 | 家用和类似用途的电器自动控制器：家用电器设备用的电气控制器electrical controls for electrical household appliances Eq. IEC 60730-2-1-89, 1st ed. |
| GOST R IEC 730-2-2-94 | 家用和类似用途的电器自动控制器：电动机热保护器 thermal motor protectors Eq. IEC 60730-2-2-90, 1st ed., incl. amd.1 & amd.2 |
| GOST R IEC 730-2-4-94 | 家用和类似用途的电器自动控制器：密封和半密封式电动压缩机的电动机热保护装置 thermal motor protectors for motor-compressors of hermetic and semi-hermetic type Eq. IEC 60730-2-4-90, 1st ed., incl. amd.1 |
| GOST R IEC 730-2-9-94 | 家用和类似用途的电器自动控制器：温敏控制器 temperature sensing controls Eq. IEC 60730-2-9-92, 1st ed., incl. amd.1 & amd.2 |
| GOST R IEC 730-2-10-96 | 家用和类似用途的电器自动控制器：电动机用起动继电器 electrically operated motor starting relays Eq. IEC 60730-2-10-91, 1st ed., incl. amd.1 |
| 隔离变压器和安全隔离变压器 等同于IEC 60742标准 |
| GOST 30030-93 | 隔离变压器和安全隔离变压器 Isolating transformers and safety isolating transformers Eq. IEC 60742-83, 1st ed., incl. amd.1 |
| 连接器件 相当于IEC 60998标准 |
| GOST R 50043.1-92 | 家用和类似用途的低压线路的连接器件.第1部分:通用要求 Connecting Devices for Low Voltage Circuits for Household and Similar Purposes - Part 1: General Requirements Eq. IEC 60998-1-2002, 2nd ed. |
| GOST R 50043.2-92 | 家用和类似用途低压电路连接器件.第2-1部分:作为单独分立件的带螺纹式夹紧装置的连接器件Part 2-1: connecting devices as separate entities with screw-type clamping units Eq. IEC 60998-2-1-2002, 2nd ed. |
| GOST R 50043.3-2000 | 家用和类似用途低压电路连接器件.第2-2部分:作为单独分立件的带无螺纹型夹紧装置的连接器件Part 2-2: connecting devices as separate entities with screwless-type clamping Eq. IEC 60998-2-2-2002, 2nd ed. |
| GOST R 50043.4-2000 | 家用和类似用途低压电路连接器件.第2-3部分:作为单独分立件的带绝缘穿刺式夹紧装置的连接器件Part 2-3: connecting devices as separate entities with insulation-piercing clamping units Eq. IEC 60998-2-3-2002, 2nd ed. |
| GOST R IEC 998-2-4-96 | 家用和类似用途低压电路连接设备：缠绕式连接装置 Twist-On Connecting Devices Eq. IEC 60998-2-4-93, 1st ed. |
| GOST R 50043.6-2000 | 家用和类似用途低压电路连接器件.第2-5部分: 终端或连接设备用接线盒(接线和/或分线) Part 2-5: connecting boxes (junction and/or tapping of copper conductors) for terminals of connecting devices Eq. IEC 60998-2-5-95, 1st ed., incl. amd.1 |
| GOST R 51686.1-2000 | 连接器件 连接铜导线（0.2-35mm2）用的螺纹型和无螺纹型夹紧件Connecting devices. Part 1. Screw-type and screwless-type clamping units for electrical copper conductors (0.2-35 sq. mm) |
| GOST R 51686.2-2000 | 连接器件 连接铜导线（35-300mm2）用的螺纹型和无螺纹型夹紧件Connecting devices. Part 2. Screw-type and screwless-type clamping units for electrical copper conductors (35-300 sq. mm) |
| GOST R 51701-2000 | 连接器件 夹紧件用任何材料的铝导线和夹紧件用铝芯的铜导线的连接器件 Connecting devices. Devices for the connection of aluminum conductors in clamping units of any material and copper conductors in aluminum bodied clamping units. |
| GOST R IEC 61210-99 | 连接器件 连接铜导线用的扁形快速连接端头 安全要求 Connecting devices. Flat quick-connect terminations for electrical copper conductors. Safety requirements |
| 压缩机 |
| GOST R IEC 60335-2-34-2000 | 电动压缩机 motor-compressors |